## ENTSO-E Real Data
Lithuania — ENTSO-E Real Market Data (API Retrieved)
Retrieved: 2026-02-12 11:47 ¦ Source: ENTSO-E Transparency Platform API
A. Day-Ahead Price Summary (EUR/MWh)
Year | Avg Price | Min Price | Max Price | Std Dev | Neg Hours | Hours Total
2020 | 24.51 | 24.07 | 24.95 | 0.62 | 0 | 2
2021 | 90.46 | -1.41 | 1000.07 | 70.25 | 5 | 8760
2022 | 230.23 | -0.04 | 4000 | 154.62 | 2 | 8760
2023 | 94.45 | -56.55 | 777.18 | 54.86 | 100 | 8760
2024 | 87.33 | -19.96 | 1478.91 | 71.8 | 186 | 8784
2025 | 91.58 | -23.58 | 1173.65 | 80.24 | 202 | 15390
2026 | 166.83 | 7.16 | 655.48 | 93.34 | 0 | 4025
B. Daily DA Price Spread — BESS Arbitrage Potential (EUR/MWh)
Year | Avg Spread | Median Spread | P90 Spread | P10 Spread
2020 | 0.88 | 0.88 | 0.88 | 0.88
2021 | 92.17 | 62.75 | 187.75 | 33.69
2022 | 245.41 | 190.54 | 420.76 | 105.3
2023 | 122.59 | 113.87 | 179.11 | 64.38
2024 | 151.78 | 126.56 | 269.5 | 55.08
2025 | 177.05 | 149.4 | 288.31 | 76.3
2026 | 212.66 | 183.09 | 376.38 | 98.06
C. Imbalance Price Summary (EUR/MWh) — 2021-Sep 2024
Year | Avg Long | Avg Short | Min Long | Max Short | Avg Spread
2020 | 105.42 | 105.42 | 104.92 | 105.92 | 0
2021 | 92.74 | 92.74 | -339.92 | 1785.32 | 0
2022 | 231.88 | 231.88 | -498.75 | 1582.82 | 0
2023 | 103.86 | 103.86 | -327.08 | 1634.37 | 0
2024 | 85.11 | 85.11 | -289.24 | 3239.53 | 0
D. Electricity Load Summary
Year | Avg Load (MW) | Min Load (MW) | Max Load (MW) | Std (MW) | Est. TWh
2020 | 1166 | 1141 | 1191 | 35 | 0
2021 | 1413 | 894 | 2220 | 261 | 12.37
2022 | 1389 | 847 | 2233 | 260 | 12.17
2023 | 1338 | 852 | 2098 | 249 | 11.72
2024 | 1422 | 718 | 2285 | 269 | 4.27
2025 | 1344 | 723 | 2149 | 269 | 11.77
2026 | 1939 | 1118 | 2679 | 322 | 1.95
E. Generation by Type (TWh)
Year | Biomass | Gas | Pumped Storage (Gen) | Pumped Storage (Pump) | Hydro | Other | Solar | Waste | Wind | Battery Storage | total
2020 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.005
2021 | 0.402 | 1.109 | 0.708 | 0 | 0.328 | 0.132 | 0.126 | 0.147 | 1.252 | 0 | 21.91
2022 | 0.367 | 0.499 | 0.554 | 0.758 | 0.397 | 0.058 | 0.352 | 0.353 | 1.474 | 0 | 22.523
2023 | 0.285 | 0.638 | 0.535 | 0.729 | 0.391 | 0.129 | 0.655 | 0.42 | 2.406 | 0 | 23.908
2024 | 0.079 | 0.323 | 0.199 | 0.272 | 0.121 | 0.109 | 0.365 | 0.254 | 1.319 | 0 | 9.122
2025 | 0.171 | 1.436 | 0.48 | 0.639 | 0.284 | 0.44 | 1.643 | 0.724 | 3.843 | 0.011 | 27.411
2026 | 0.083 | 1.185 | 0.251 | 0.34 | 0.119 | 0.271 | 0.114 | 0.392 | 2.75 | 0.015 | 13.673
F. Cross-border Flows (TWh)
Year | Total Import | Total Export | Net Import
2021 | 6.34 | 2.34 | 4
2022 | 8.66 | 2.11 | 6.55
2023 | 8.26 | 1.99 | 6.27
2024 | 6.51 | 1.42 | 5.1
2025 | 2.97 | 1.17 | 1.79
2026 | 3.89 | 0.71 | 3.18

## Balancing Data (API)
Lithuania — Balancing & Reserve Market Data (ENTSO-E API)
Retrieved: 2026-02-12 11:47 ¦ Endpoints: A47 (aFRR), A51 (mFRR), Activated Energy, Imbalance
A. aFRR Contracted Reserve Prices — Annual Summary (EUR/MW/period)
Year | Up Price Mean | Up Price Median | Up Price P90 | Up Price Max | Up Qty Mean (MW) | Down Price Mean | Down Price Median | Down Price P90 | Down Qty Mean (MW) | Data Points
2024 | 0.87 | 0.87 | 0.87 | 0.87 | 349 | 0 | 0 | 0 | 0 | 18921
2025 | 29.56 | 11.63 | 52.9 | 4000 | 410 | 18.34 | 10 | 20.7 | 354 | 34560
2026 | 33.63 | 19.6 | 85.71 | 778.41 | 248 | 18.25 | 17.2 | 32.31 | 239 | 2682
B. aFRR Monthly Breakdown
Year | Month | Up Price Mean | Up Price Median | Up Price P90 | Up Qty Mean | Down Price Mean | Down Qty Mean
2024 | 5 | 0.87 | 0.87 | 0.87 | 350 | 0 | 0
2024 | 6 | 0.87 | 0.87 | 0.87 | 346 | 0 | 0
2024 | 7 | 0.87 | 0.87 | 0.87 | 348 | 0 | 0
2024 | 8 | 0.87 | 0.87 | 0.87 | 350 | 0 | 0
2024 | 9 | 0.87 | 0.87 | 0.87 | 348 | 0 | 0
2024 | 10 | 0.87 | 0.87 | 0.87 | 347 | 0 | 0
2024 | 11 | 0.87 | 0.87 | 0.87 | 350 | 0 | 0
2024 | 12 | 0.87 | 0.87 | 0.87 | 350 | 0 | 0
2025 | 1 | 0.73 | 0.73 | 0.73 | 341 | 0 | 0
2025 | 2 | 12.43 | 11.14 | 26.38 | 501 | 16.6 | 379
2025 | 3 | 70.7 | 35.7 | 110.87 | 536 | 67.51 | 456
2025 | 4 | 56.29 | 19.53 | 138.93 | 429 | 29.9 | 424
2025 | 5 | 17.35 | 13.83 | 39.02 | 374 | 15.82 | 426
2025 | 6 | 7.33 | 3.31 | 18.6 | 416 | 10.93 | 457
2025 | 7 | 12.57 | 10.79 | 24.36 | 490 | 10.39 | 442
2025 | 8 | 20.01 | 11.48 | 27.79 | 449 | 9.7 | 423
2025 | 9 | 92.07 | 19.6 | 100 | 387 | 17.22 | 381
2025 | 10 | 32.93 | 19.4 | 73.9 | 282 | 16.86 | 267
2025 | 11 | 13.29 | 9.77 | 24.96 | 365 | 12.18 | 310
2025 | 12 | 17.9 | 12.81 | 35.94 | 343 | 12.23 | 284
2026 | 1 | 24.01 | 15.28 | 63.9 | 247 | 16.51 | 262
2026 | 2 | 46.55 | 29.31 | 100 | 248 | 20.57 | 208
C. mFRR Contracted Reserve Prices — Annual Summary
Year | Up Price Mean | Up Price Median | Up Price Max | Up Qty Mean (MW) | Down Price Mean | Down Price Median | Down Qty Mean (MW) | Data Points
2024 | 17.48 | 0 | 361.01 | 3 | 17.48 | 0 | 3 | 19017
2025 | 80.24 | 0 | 4000 | 36 | 85.91 | 0.18 | 36 | 34465
2026 | 53.84 | 16.68 | 4000 | 79 | 16.1 | 0.02 | 74 | 2682
D. Activated Balancing Energy Prices (Jun-Oct 2024)
Direction | Count | Mean Price | Median Price | Max/Min Price
Up (shortage) | 778 | 296.81 | 257.07 | 1017.5
Down (surplus) | 1475 | -5.02 | 1 | -300
E. Key Interpretation Notes
• aFRR data available from Jun 2024 onwards (Baltic aFRR market launch)
• 2024 aFRR Up price fixed at €0.87/MW/period — initial regulated price before market launch
• 2025: Market-based pricing active — mean Up €29.55, median €11.61, P90 significantly higher
• 2026 (Jan-Feb): Mean Up €33.60 — winter peak effect visible
• aFRR Up Quantity: ~350-430 MW contracted on average — this is TOTAL Baltic requirement, not just LT
• Lithuania's share is typically ~80-120 MW of the total Baltic aFRR requirement
• mFRR prices are significantly higher (mean €80 Up in 2025) but volumes are smaller (~36 MW)
• Activated balancing energy Up prices: mean €297/MWh — significant premium over DA prices
• PICASSO go-live (Mar 2025) changed pricing dynamics — cross-border competition for aFRR
• Imbalance price data gap Oct 2024 — Feb 2026: ENTSO-E has not published new-format data yet
• The 15-min ISP transition caused a data format change that ENTSO-E is still catching up on

## BESS Revenue Analysis
BESS Revenue Analysis by Duration & Market
Based on actual ENTSO-E data (2024-2025) with forward projections (2026-2030)
Table 1: BESS Revenue 2025 Actual — EUR/MW/year
Revenue Stream | 1h BESS | 2h BESS | 4h BESS | 1h EUR/kW/yr | 2h EUR/kW/yr | 4h EUR/kW/yr
DA Arbitrage | 50613 | 93466 | 163707 | 50.6 | 93.5 | 163.7
aFRR | 545467 | 671344 | 755262 | 545.5 | 671.3 | 755.3
FCR | 216810 | 221628 | 228855 | 216.8 | 221.6 | 228.9
mFRR | 2037634 | 2386943 | 2619815 | 2037.6 | 2386.9 | 2619.8
Imbalance | 0 | 0 | 0 | 0 | 0 | 0
Multi-Market Combined | 544284 | 556887 | 577546 | 544.3 | 556.9 | 577.5
Table 2: BESS Revenue 2024 Actual — EUR/MW/year
Revenue Stream | 1h BESS | 2h BESS | 4h BESS | 1h EUR/kW/yr | 2h EUR/kW/yr | 4h EUR/kW/yr
DA Arbitrage | 42973 | 78611 | 132199 | 43 | 78.6 | 132.2
aFRR | 9907 | 12194 | 13718 | 9.9 | 12.2 | 13.7
FCR | 0 | 0 | 0 | 0 | 0 | 0
mFRR | 428823 | 502335 | 551344 | 428.8 | 502.3 | 551.3
Imbalance | 68969 | 126074 | 218269 | 69 | 126.1 | 218.3
Multi-Market Combined | 57480 | 74680 | 101288 | 57.5 | 74.7 | 101.3
Table 3: Multi-Market Combined Revenue Projection — EUR/MW/year
Year | 1h BESS | 2h BESS | 4h BESS | Balancing Compression | DA Compression | BESS Installed (MW)
2025 | 552397 | 571719 | 603225 | 100% | 100% | 454
2026 | 370885 | 387309 | 414089 | 65% | 85% | 700
2027 | 258928 | 272453 | 294507 | 45% | 70% | 1200
2028 | 208506 | 220099 | 239003 | 35% | 60% | 1500
2029 | 183295 | 193922 | 211250 | 30% | 55% | 1800
2030 | 172521 | 182182 | 197935 | 28% | 50% | 2000
Table 4: Revenue Breakdown by Market Segment 2025 — EUR/MW/year
Duration | DA Arbitrage | aFRR | FCR | mFRR | Imbalance | Combined
1h BESS | 50613 | 545467 | 216810 | 2037634 | 0 | 544284
2h BESS | 93466 | 671344 | 221628 | 2386943 | 0 | 556887
4h BESS | 163707 | 755262 | 228855 | 2619815 | 0 | 577546
Baltic Market Intelligence (LinkedIn Sources)
Source | Date | Key Insight
Balancing Services OÜ | Feb 5, 2025 | Baltic balancing capacity procurement launched. Latvia: mFRR UP 55 MW, mFRR DOWN 55 MW, FCR 29 MW. Lithuania joined for mFRR DOWN 440 MW. FCR price hit €145/MW/h — one of the highest in Europe. mFRR DOWN: €20–30/MW/h. Peak mFRR UP: €65/MW/h (Latvia) vs €0.7/MW/h (Lithuania) showing extreme early-market volatility.
Fusebox Energy | Mar 2025 | Baltic frequency reserves showed extreme price swings from €9,976/MWh to -€4,473/MWh. A single small Latvian bidder caused market distortions. Regulators investigating potential manipulation. Highlights need for more storage capacity and market design reform.
Energy Lead | Aug 6, 2025 | Nord Pool day-ahead prices hit -€3.06/MWh across all three Baltic states. Ancillary services saw -€11,999/MWh in Latvia and Lithuania — unprecedented volatility showing extreme market dynamics.
Danny Zaitsev (Zada) | Jun 2025 | Baltic region remains an "energy island" with prices disconnected from Europe. "A battery doing simple DA trading will be earning in excess of EUR 800/MW." Lithuania approved 4 GWh of battery storage. Opportunity "won't last forever — once new storage is built, prices will settle down."
Elektrum Eesti | Feb 2025 | Estlink 2 cable failure caused 65–71% Baltic electricity price surge. Estonia local production covered only 64% of consumption. Demonstrates BESS upside from interconnection failures driving scarcity pricing.
Litgrid | Jun 2025 | Lithuania's first commercial BESS connected: 53.6 MW / 107.3 MWh by UAB Vėjo Galia in Kaišiadorys district. Total Lithuania BESS: 453.9 MW / 461.5 MWh. At least 9 more storage projects planned for next year.
Estonian Consumer Impact | Jan 2026 | Post-BRELL disconnection costs: Estonian consumers now pay €3.70/MWh reserve capacity fee plus ~€2/month "quiet sleep tax". Demonstrates structural cost of energy independence creating sustained revenue pool for flexibility providers.
VPPA/Spread Analysis | 2025 | Baltic States daily DA price spread: €177 (comparable to Austria €187–222). Analysis of 20 million ENTSO-E rows across 38 European regions confirms Baltic grid decoupling driving flexibility demand. Volatility is "fuel for battery profits."
Grid Disconnection | Feb 7–9, 2025 | Estonia, Latvia, Lithuania disconnected from Russian BRELL grid and joined Continental European Network. Total project cost: €1.2 billion (75% EU funded). TSOs deployed synchronous condensers and BESS for frequency management.
Methodology & Assumptions
DA Arbitrage: Perfect-foresight upper bound (buy N cheapest, sell N most expensive hours/day) × 85% capture rate.
Round-trip efficiency: 88%. Accounts for charge/discharge losses in Li-ion BESS.
aFRR: ENTSO-E contracted reserve prices (process type A47). Prices per MW per 15-min ISP. BESS alternates Up/Down.
aFRR availability by duration: 1h=65%, 2h=80%, 4h=90% (SoC constraints).
FCR: Estimated from Baltic market data (launched Feb 2025). No ENTSO-E data available for Lithuania FCR.
FCR price estimate 2025: €30/MW/h average. First-day clearing: €145/MW/h (LinkedIn source).
mFRR: ENTSO-E process type A51. Lower volumes than aFRR. Sporadic procurement.
Imbalance: ¦Imbalance price - DA price¦ spread captured during best N hours/day. Data through Sep 2024.
Multi-Market Combined: Weighted time allocation across markets (aFRR 40%, FCR 20%, DA 25%, mFRR 5%, Imbalance 10%).
Forward projections apply revenue compression from BESS saturation: 454 MW (2025) → 2,000+ MW (2030).
2025 revenues reflect extraordinary post-BRELL disconnection conditions. NOT sustainable long-term.
aFRR revenues are exceptionally high due to scarcity; expect 55-70% decline by 2027 as capacity enters.
All figures are gross revenue before opex, degradation, and financing costs.

## Pipeline & Saturation
Lithuania BESS Pipeline & Market Saturation Analysis
Pipeline: 1.7 GW / 4.0 GWh ¦ 50+ applications ¦ EUR 840M+ total value ¦ 14.7% state subsidy
Pipeline Overview
Total Pipeline Power | 1,700 MW
Total Pipeline Energy | 4,000 MWh
Average Duration | 2.4 hours
Number of Applications | 50+
Total Project Value | EUR 840M+
State Subsidy (average) | 14.7% of costs
Max per Facility | 300 MWh
Currently Installed | 454 MW / 462 MWh
Key Entities
Ministry of Energy | Policy & procurement framework
EPMA | Environmental Project Management Agency
Litgrid (TSO) | 200 MW operational + grid integration
Ignitis Group | EUR 130M BESS investment
E Energija Group | Under construction
European Energy | 25 MW / 65 MWh completed Jan 2026 (Anykščiai)
UAB Vėjo Galia | 53.6 MW / 107.3 MWh operational (Kaišiadorys)
Fluence | System integrator with Litgrid
UAB Karjerų Linija | Investment Jul 2025
Market Size vs Pipeline
Market Segment | Actual (MW) | Pipeline as Multiple | Saturation Level | Implication
aFRR Up Capacity | 410 | 4.1x | Oversupplied | Revenue compression 2027+
aFRR Down Capacity | 354 | 4.8x | Oversupplied | Revenue compression 2027+
mFRR Up + Down | 72 | 23.6x | Heavily oversupplied | Sporadic revenue only
FCR (estimated) | 40 | 42x | Heavily oversupplied | Small market segment
Total Balancing | 876 | 1.9x | Oversupplied | Balancing cannot absorb full pipeline
Peak Load | 2100 | 0.8x | High penetration | DA arbitrage structurally viable
BESS Build-Out Scenarios (Installed MW)
Year | High | Base | Low | High % aFRR Up | Base % aFRR Up | Low % aFRR Up | aFRR Up Req. (MW)
2025 | 454 | 454 | 454 | 111% | 111% | 111% | 410
2026 | 800 | 650 | 550 | 195% | 159% | 134% | 410
2027 | 1200 | 950 | 700 | 293% | 232% | 171% | 410
2028 | 1500 | 1200 | 850 | 366% | 293% | 207% | 410
2029 | 1700 | 1400 | 1000 | 415% | 342% | 244% | 410
2030 | 1700 | 1500 | 1100 | 415% | 366% | 268% | 410
Known BESS Projects
Developer | MW | MWh | Duration (h) | Location | Status | Year | Source
UAB Vėjo Galia | 53.6 | 107.3 | 2 | Kaišiadorys | Operational | 2025 | Litgrid (first commercial BESS on transmission grid)
European Energy | 25 | 65 | 2.6 | Anykščiai | Construction complete | 2026 | LinkedIn Jan 2026
Litgrid (TSO-owned) | 200 | 200 | 1 | Various | Operational | 2024 | First large-capacity facility, 2020 commissioned
Ignitis Group | 130 | 260 | 2 | TBD | Development | 2026 | EUR 130M investment announced
E Energija Group | 100 | 200 | 2 | TBD | Under construction | 2026 | LinkedIn (construction underway)
Fluence / Litgrid | 50 | 100 | 2 | TBD | Integration | 2025 | System integrator collaboration
Pipeline Conversion Analysis
Pipeline: 1.7 GW / 4.0 GWh across 50+ applications (EUR 840M+, avg 14.7% state subsidy).
Connection rights ≠ built projects. In mature EU markets, 20-40% conversion from application to FID.
At 30% conversion: ~510 MW new capacity → total ~960 MW by 2028.
At 60% conversion: ~1,020 MW new capacity → total ~1,470 MW by 2029.
At 90% conversion: ~1,530 MW new → total ~1,980 MW by 2030 (if grid & supply chain allow).
Limiting factors: grid connection capacity, transformer availability, LFP cell supply chain, financing.
State subsidy (14.7% avg) de-risks projects but initial funding was doubled (demand >> budget).
Max 300 MWh per facility limits concentration risk but increases grid connection complexity.
European Energy (25 MW/65 MWh) Anykščiai project completed Jan 2026 — ~2.6h duration, portfolio approach.
First-mover advantage: projects online 2025-2026 earn extraordinary returns before saturation.

## Installed Capacity
Lithuania - Installed Capacity by Technology (MW)
Historical (2021-2025) & Forecast (2026-2031) ¦ Sources: IRENA, LVEA, Litgrid, PV Magazine, IEA, NECP
Year | Wind Cumul (MW) | Wind Annual (MW) | PV Cumul (MW) | PV Annual (MW) | BESS Power Cumul (MW) | BESS Power Annual (MW) | BESS Energy Cumul (MWh) | BESS Energy Annual (MWh) | Fossil Avail (MW) | Total RES (MW) | RES+BESS Total (MW)
2021 | 671 | 671 | 250 | 250 | 0 | 0 | 0 | 0 | 1800 | 921 | 921
2022 | 946 | 275 | 570 | 320 | 200 | 200 | 200 | 200 | 1800 | 1516 | 1716
2023 | 1050 | 104 | 1410 | 840 | 200 | 0 | 200 | 0 | 1800 | 2460 | 2660
2024 | 1200 | 150 | 2280 | 870 | 250 | 50 | 300 | 100 | 1800 | 3480 | 3730
2025 | 1500 | 300 | 2800 | 520 | 535 | 285 | 700 | 400 | 1800 | 4300 | 4835
2026 | 1900 | 400 | 3500 | 700 | 800 | 265 | 1200 | 500 | 1600 | 5400 | 6200
2027 | 2400 | 500 | 4200 | 700 | 1200 | 400 | 2000 | 800 | 1500 | 6600 | 7800
2028 | 3000 | 600 | 4800 | 600 | 1500 | 300 | 3000 | 1000 | 1400 | 7800 | 9300
2029 | 3500 | 500 | 5100 | 300 | 1700 | 200 | 4000 | 1000 | 1200 | 8600 | 10300
2030 | 4000 | 500 | 5500 | 400 | 1800 | 100 | 4200 | 200 | 1000 | 9500 | 11300
2031 | 4500 | 500 | 5800 | 300 | 1900 | 100 | 4500 | 300 | 900 | 10300 | 12200
Legend:
Yellow cells = Forecast / Projection
Sources: LVEA, Litgrid, PV Magazine, IRENA, IEA Lithuania 2025 Review, Lithuania NECP
BESS govt procurement target: 1.7 GW / 4 GWh (support allocated for 4 GWh)
Wind includes planned 0.7 GW offshore by 2030
Solar NECP target: 5.1 GW by 2030

## Day-Ahead Prices
Lithuania - Day-Ahead Wholesale Electricity Prices (EUR/MWh)
Source: ENTSO-E / Nord Pool via EnergyInEU ¦ Monthly averages
Year | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Annual Avg
2021 | 52.47 | 59.31 | 47.98 | 44.74 | 50.35 | 77.74 | 88.32 | 87.74 | 123.96 | 108.97 | 127.82 | 212.22 | 90.14
2022 | 145.87 | 104.74 | 170.03 | 116.46 | 164.71 | 223.16 | 305.36 | 480.39 | 359.68 | 189.45 | 226.63 | 264.28 | 229.23
2023 | 103.06 | 114.7 | 87.72 | 67.27 | 78.02 | 94.75 | 83.84 | 102.49 | 117.29 | 87.41 | 105.2 | 84.77 | 93.88
2024 | 117.41 | 72.54 | 68.18 | 56.91 | 75.85 | 91.64 | 98.02 | 106.95 | 83.54 | 90.06 | 88.98 | 89.82 | 86.66
2025 | 83.03 | 143.92 | 92.36 | 74.59 | 64.13 | 43.26 | 46.18 | 78.27 | 84.24 | 61.51 | 38.56 | 76.52 | 73.88
2026 | Jan: 114.13; Feb: 205.62 | 159.88
Summary Statistics
Year | Jan: Avg EUR/MWh; Feb: Min Month; Mar: Max Month; Apr: Spread (Max-Min); May: Neg Price Hours
2021 | Jan: 90.14; Feb: 44.74; Mar: 212.22; Apr: 167.48; May: 10
2022 | Jan: 229.23; Feb: 104.74; Mar: 480.39; Apr: 375.65; May: 5
2023 | Jan: 93.88; Feb: 67.27; Mar: 117.29; Apr: 50.02; May: 50
2024 | Jan: 86.66; Feb: 56.91; Mar: 117.41; Apr: 60.5; May: 186
2025 | Jan: 73.88; Feb: 38.56; Mar: 143.92; Apr: 105.36; May: 177

## Electricity Load
Lithuania - Electricity Demand & Load Analysis
Sources: Litgrid, IEA, Eurostat, NREL Lithuania Study
Year | Consumption (TWh) | Dom. Generation (TWh) | Net Import (TWh) | Import Share (%) | Avg Load (GW) | Est. Peak (GW) | Est. Min (GW)
2021 | 14.2 | 4.2 | 10 | 70 | 1.62 | 2.1 | 0.9
2022 | 13.4 | 4.8 | 8.6 | 64 | 1.53 | 2.05 | 0.85
2023 | 12.8 | 5.5 | 7.3 | 57 | 1.46 | 2 | 0.82
2024 | 13 | 7.5 | 5.5 | 42 | 1.48 | 2.1 | 0.85
2025 | 13.5 | 9 | 4.5 | 33 | 1.54 | 2.15 | 0.88
2026 | 14.2 | 10.5 | 3.7 | 26 | 1.62 | 2.2 | 0.9
2027 | 15 | 12 | 3 | 20 | 1.71 | 2.3 | 0.95
2028 | 16 | 14 | 2 | 13 | 1.83 | 2.4 | 1
2029 | 17 | 15.5 | 1.5 | 9 | 1.94 | 2.55 | 1.05
2030 | 18 | 17.5 | 0.5 | 3 | 2.05 | 2.7 | 1.1
2031 | 18.7 | 19 | -0.3 | -2 | 2.13 | 2.8 | 1.15
Key Insights:
• Lithuania consumed ~13-14 TWh/year (2021-2025), with peak demand ~2.1 GW
• Import dependency dropped from 70% (2021) to ~33% (2025) due to renewable build-out
• Litgrid forecasts 4%/yr demand growth → 18.7 TWh by 2031 (data centers, EV, heat pumps)
• Lithuania targets net electricity exporter status by 2028-2030
• Feb 2025: Baltic grid sync with Continental Europe — ended 50+ years of Russian grid dependency
• After disconnection, prices spiked to €325/MWh peak (9 Feb 2025) but normalized within days

## Balancing & Ancillary
Lithuania - aFRR, Imbalance & Intra-Day Market Analysis
Sources: Litgrid, ENTSO-E, CEER, ESS News, PICASSO
aFRR Capacity Market
Parameter | 2023 | 2024 | 2025 | 2026E | 2027E | 2028E | 2029E | 2030E
aFRR Up Requirement (MW) | 40 | 60 | 80 | 96 | 110 | 120 | 120 | 120
aFRR Down Requirement (MW) | 40 | 60 | 80 | 104 | 110 | 120 | 120 | 120
aFRR Capacity Price Up (EUR/MW/h) | 15 | 20 | 25 | 30 | 28 | 25 | 22 | 20
aFRR Capacity Price Down (EUR/MW/h) | 8 | 12 | 15 | 18 | 16 | 14 | 12 | 10
aFRR Energy Price Up (EUR/MWh) | 120 | 130 | 140 | 145 | 135 | 125 | 115 | 110
aFRR Energy Price Down (EUR/MWh) | -20 | -25 | -30 | -35 | -40 | -45 | -50 | -55
Total aFRR Cost (EUR mn) | 5.3 | 8.5 | 12 | 16 | 18 | 19 | 18 | 17
BESS Share of aFRR (%) | 15 | 25 | 40 | 55 | 65 | 75 | 80 | 85
Imbalance Settlement
Parameter | 2023 | 2024 | 2025 | 2026E | 2027E
Imbalance Price Avg Positive (EUR/MWh) | 110 | 105 | 100 | 95 | 90
Imbalance Price Avg Negative (EUR/MWh) | -15 | -25 | -35 | -45 | -55
Imbalance Price Max Positive (EUR/MWh) | 800 | 1200 | 1500 | 1800 | 2000
Imbalance Price Min Negative (EUR/MWh) | -150 | -300 | -400 | -500 | -500
Settlement Period | 60 min | 15 min | 15 min | 15 min | 15 min
Avg Spread (Pos-Neg) (EUR/MWh) | 125 | 130 | 135 | 140 | 145
PICASSO Integration | No | No | Yes (Mar) | Yes | Yes
Intra-Day Market
Parameter | 2023 | 2024 | 2025 | 2026E | 2027E
ID Avg Price (EUR/MWh) | 93 | 88 | 75 | 80 | 75
ID-DA Spread Avg (EUR/MWh) | 5 | 8 | 10 | 12 | 12
ID-DA Spread P90 (EUR/MWh) | 25 | 35 | 45 | 55 | 55
ID Volatility (Std Dev EUR/MWh) | 40 | 45 | 55 | 60 | 65
Neg Price Hours ID | 30 | 120 | 177 | 220 | 280
ID Trading Volume (TWh) | 1.2 | 1.8 | 2.5 | 3.5 | 4.5
Key Market Developments:
• Mar 2025: Lithuania (Litgrid) joined PICASSO — pan-European aFRR platform
• 2024: Imbalance settlement shifted from 60-min to 15-min periods (EU regulation)
• aFRR demand: up to 96-120 MW up / 104-120 MW down expected in 2026
• Baltic TSOs demand reduction reserve reduced total balancing costs 8x (Feb-Sep 2025)
• Ancillary service costs increased 5.5x in 2024 vs 2023 (to 1.31 ct/kWh)
• BESS increasingly capturing aFRR market — Energy Cells 40MW already providing aFRR
• Intra-day volatility increasing with renewable penetration — strong BESS opportunity
• NOTE: Exact aFRR/imbalance prices are estimates based on ENTSO-E reports & CEER data

## BESS Saturation Analysis
Lithuania - BESS Market Saturation & Revenue Analysis
Birdview Energy Analysis ¦ Based on collected market data
BESS Revenue Potential by Stream (EUR/kW/yr)
Revenue Stream | 2024 | 2025 | 2026E | 2027E | 2028E | 2029E | 2030E | Notes
DA Arbitrage | 35 | 30 | 28 | 25 | 22 | 20 | 18 | Declining as price spreads narrow with more BESS
Intra-Day Trading | 15 | 18 | 20 | 22 | 20 | 18 | 16 | Growing with volatility, then saturates
aFRR Capacity | 25 | 30 | 35 | 32 | 28 | 25 | 22 | Strong near-term; competition increases
aFRR Energy | 8 | 10 | 12 | 11 | 10 | 9 | 8 | Linked to activation frequency
mFRR / Balancing | 5 | 8 | 10 | 10 | 9 | 8 | 7 | Baltic market integration helps
Imbalance Optimization | 10 | 12 | 15 | 14 | 12 | 10 | 8 | 15-min ISP beneficial for BESS
TOTAL | 98 | 108 | 120 | 114 | 101 | 90 | 79
Market Saturation Indicators
Metric | 2024 | 2025 | 2026E | 2027E | 2028E | 2029E | 2030E
BESS Installed (MW) | 250 | 535 | 800 | 1200 | 1500 | 1700 | 1800
BESS / Peak Demand (%) | 12 | 25 | 36 | 52 | 63 | 67 | 67
BESS / Avg Load (%) | 17 | 35 | 49 | 70 | 82 | 88 | 88
BESS / RES Capacity (%) | 7 | 12 | 15 | 18 | 19 | 20 | 19
aFRR Market Size (MW) | 120 | 160 | 200 | 220 | 240 | 240 | 240
BESS as % of aFRR Market | 42 | 67 | 80 | 109 | 125 | 142 | 150
Revenue Cannibalization (%) | 0 | 5 | 10 | 18 | 25 | 30 | 35
DA Price Spread (EUR/MWh) | 55 | 50 | 48 | 42 | 38 | 35 | 32
Saturation Signal | Low | Low-Med | Medium | Med-High | High | High | Saturated
BESS Market Saturation Assessment
WINDOW OF OPPORTUNITY: 2025-2027 is the golden window for Lithuanian BESS investment
BULL CASE (Favorable for BESS):
• Russia grid disconnection increases price volatility & need for flexibility
• Load growth 4%/yr (data centers, EVs, heat pumps) expands addressable market
• 0.7 GW offshore wind by 2030 creates large balancing need
• PICASSO integration opens cross-border aFRR revenue
• Government allocated €197mn+ in BESS support (largest EU procurement)
BEAR CASE (Risk of saturation):
• 1.7 GW / 4 GWh government pipeline → BESS/Peak ratio hits 67% by 2029
• aFRR market relatively small (~120 MW each direction) vs BESS pipeline
• BESS will exceed total aFRR market size by 2027 → not all can earn capacity revenue
• Revenue cannibalization estimated at 25-35% by 2028-2030
• Lithuania is a small market (~13-18 TWh) — limited absolute opportunity
RECOMMENDATION:
• Early-mover advantage is CRITICAL — projects operational by 2026-2027 capture peak revenues
• Target multi-revenue stacking: aFRR + DA arb + ID trading + imbalance
• Consider 2h+ duration to capture wider DA spreads
• Cross-border revenue (via PICASSO, NordBalt, LitPol Link) is essential for long-term value
• After 2028, expect revenue compression of 20-35% from baseline due to saturation
• Monitor actual BESS build-out pace — delays in pipeline could extend opportunity window

## Market Overview
Lithuania Electricity Market — Key Developments for BESS Developers
Compiled February 2026 ¦ Birdview Energy
1. GRID DISCONNECTION FROM RUSSIA (Completed Feb 2025)
• 8 Feb 2025: Baltic states disconnected from Russian BRELL grid system
• 9 Feb 2025: Synchronized with Continental European grid via LitPol Link (AC mode)
• Ended 50+ years of Soviet/Russian grid dependency
• Price spike to €325/MWh on disconnection day, €128/MWh daily average
• Successful 24-hour isolated island mode test before EU sync
• Increases need for domestic flexibility → bullish for BESS
2. MASSIVE BESS PROCUREMENT PROGRAM
• Government launched 1.7 GW / 4 GWh BESS procurement — largest in EU
• Over 50 applications received totaling €197mn — nearly 2x the original budget
• Additional €45mn allocated (Oct 2025) to support more projects
• Target: ≥800 MWh connected to TSO grid by end 2028
• Key projects: Ignitis 291MW/582MWh (2027), Trina 90MW/180MWh (mid-2026)
• Litgrid already operates 200MW/200MWh (Fluence/Siemens Energy, since 2022)
3. RENEWABLE ENERGY EXPLOSION
• 2025: record 1.7 GW of wind + solar added in single year
• Total wind+solar reached 3 GW by end 2025 (Litgrid confirmed)
• Solar: from 250 MW (2021) → 2,800 MW (2025) — 11x growth in 4 years
• Wind: from 671 MW (2021) → 1,500 MW (2025) — doubled
• 2030 NECP targets: 5.1 GW solar, ~4 GW wind (incl. 0.7 GW offshore)
• Renewables now cover ~70% of domestic electricity demand
4. aFRR & BALANCING MARKET EVOLUTION
• Mar 2025: Litgrid joined PICASSO — pan-European aFRR platform
• aFRR requirement growing: up to 96-120 MW each direction by 2026
• 15-minute imbalance settlement period introduced (was 60 min)
• Ancillary service costs surged 5.5x in 2024 (to 1.31 ct/kWh)
• BESS ideally suited for fast-response aFRR — replacing demand reduction resources
• Baltic demand reduction reserve reduced balancing costs 8x (Feb-Sep 2025)
5. INTERCONNECTIONS & MARKET COUPLING
• NordBalt: 700 MW HVDC to Sweden (operational since 2015)
• LitPol Link: 500 MW to Poland (now in AC mode after sync)
• Harmony Link: planned 700 MW HVDC to Poland (under development)
• Future: 2 GW offshore interconnection Lithuania-Latvia-Germany (post-2035)
• Strong interconnections keep Lithuania coupled to Nordic + CE prices
• But transmission constraints can cause price divergence → BESS opportunity
6. ELECTRICITY DEMAND OUTLOOK
• Current: ~13-14 TWh/year, ~2.1 GW peak demand
• Litgrid 10-year plan: demand grows 4%/yr → 18.7 TWh by 2031
• Key drivers: data centers, electric vehicles, industrial heat pumps
• Lithuania targets net electricity exporter by 2028-2030
• Import share dropped from 70% (2021) to ~33% (2025)
• Domestic generation doubled from 4.2 TWh (2021) to ~9 TWh (2025)
7. REGULATORY & POLICY LANDSCAPE
• Strong government support for BESS — €197mn+ allocated
• EU ETS2 introduction in 2027 expected to push energy prices up
• Lithuania 100% renewable electricity target by 2030
• NECP: 5.1 GW solar, ~4 GW wind, 1.7 GW storage by 2030
• Active support for hydrogen (electrolysis) — potential future BESS competitor
• Energy independence is national security priority post-Ukraine war

## Data Retrieval Guide
ENTSO-E API & Data Retrieval Guide for Lithuania
How to retrieve live price data programmatically
ENTSO-E Transparency Platform API
Register at: https://transparency.entsoe.eu/
Request API key: email transparency@entsoe.eu with subject 'Restful API access'
Lithuania bidding zone code: 10YLT-1001A0008Q
Country code for entsoe-py: 'LT'
Python example (entsoe-py library):
pip install entsoe-py
from entsoe import EntsoePandasClient
import pandas as pd
client = EntsoePandasClient(api_key='YOUR_KEY')
start = pd.Timestamp('20240101', tz='Europe/Vilnius')
end = pd.Timestamp('20250101', tz='Europe/Vilnius')
# Day-ahead prices
da = client.query_day_ahead_prices('LT', start=start, end=end)
# Imbalance prices
imb = client.query_imbalance_prices('LT', start=start, end=end)
# Cross-border flows
flows = client.query_crossborder_flows('LT', 'SE_4', start=start, end=end)
Nord Pool Data Portal
URL: https://data.nordpoolgroup.com/
Lithuania data available from day-ahead and intra-day markets
Free registration required for bulk downloads
Also available via: https://nordpool.opendailydata.com/en (open data)
Litgrid Dashboard
URL: https://www.litgrid.eu/index.php/dashboard/gas-and-electricity-prices/31769
Real-time and historical electricity prices, flows, generation
Balancing market data and ancillary services costs
Additional Data Sources
EnergyInEU (monthly averages): https://energyineu.com/lithuania.php
Ember (EU price analysis): https://ember-energy.org/data/european-electricity-prices-and-costs/
Eurostat (official statistics): https://ec.europa.eu/eurostat/
CEER (regulatory reports): https://www.ceer.eu/
IEA Lithuania Review: https://iea.blob.core.windows.net/assets/.../Lithuania2025.pdf